## Slide 1: A Charged Fusion Product Diagnostic for a Spherical Tokamak
Proposal Defense
Ramona V Perez

## Slide 2: Outline
Background
Experimental Design
  Mechanical Design
  Simulations
  Electronic & Data Acquisition Design
Data Collection
Data Analysis
Timeline

## Slide 3: Confined Plasma
Poloidal & toroidal direction
Temperature 10^8 K
Magnetic field .5T
[Image 1]

## Slide 4: Confined Plasma
[Image 3]
[Image 2]

## Slide 5: Spherical Tokamak
[Image 4]
Aspect Ratio: R/a
Rc
ac
as
Rs

## Slide 6: Tokamak Field Coils
[Image 7]

## Slide 7: Heating Methods
Ohmic heating (induced current)
Neutral-Beam Injection (NBI)
And Radio Frequency (RF) (oscillating electromagnetic waves)
[Image 8]

## Slide 8: Products and Reactants

## Slide 9: Fusion Reactions
Primary reactions
  D + D  P(3MeV) + T(1MeV)
  D + D  He3(0.8MeV) + N(2.5MeV)
Secondary reactions
  D + T  N(14.1MeV) + α(3.5MeV)
  D+ He3  α(4.6MeV) + P(13.7MeV)
Detect these

## Slide 10: DD Reaction
Energy investment to facilitate nuclear reactions
[Image 10]

## Slide 11: Research Objective
Determine emission profile
  Where are the d(d,p)t reactions taking place in the plasma?
  At what rate are these d(d,p)t reactions taking place in the plasma?
MHD instabilities
Provides foundation for future work with spherical tokamaks

## Slide 12: NSTX and MAST
[Image 5]
[Image 6]
Tokamak

## Slide 13: Module Cross Section
Base
Detector
Foil
BNC connector
Insulator

## Slide 14: Total Exploded View
MAST RP
connector
Module
Shield
Connector
Base X 4
Detector X 4
Foil X 4
Insulator X 4

## Slide 15: Total Assembled View
MAST
Reciprocating
Probe
Diagnostic
Diagnostic
Without Shield
Shield

## Slide 16: MAST mid-plane cross- sectional top view
15
[Image 11]
Reciprocating probe
Attach
diagnostic

## Slide 17: MAST RP Access Cube
Clearance Diameter: 148mm
CFPD Diameter: 111mm
CFPD Length: 201.7mm = 185mm + 1.7cm
[Image 13]
[Image 14]

## Slide 18: 2.2 Simulations
Orbit Code
  Recreate particle trajectory, or orbit, backwards in time

## Slide 19: Flux Surfaces
[Image 15]
Constant pressure
Constant temperature

## Slide 20: Particle Orbits
ORBITS
DETECTORS
TOKAMAK
WALL
CENTER OF TOKAMAK
TOKAMAK
WALL
FLUX (CONTOUR
LINES)
ORBITS
DETECTORS
EMISSIVITY (FILLED
CONTOURS)

## Slide 21: Other MAST Diagnostics
[Image 16]
All diagnostics on the tokamak study the same plasma

## Slide 22: 2.3 Electronics & DAQ Design

## Slide 23: MAST RP side view
Linkbox
Access Cube/
Garage
[Image 17]

## Slide 24: MAST RP Access Cube
MAST will connect non terminated cable ends from detectors to RP connector

## Slide 25: MAST RP Linkbox
4 preamplifiers stored inside linkbox
MAST will connect non terminated cable ends from preamplifiers to RP
Bias supply and power supply cables to preamp will run into linkbox
[Image 18]

## Slide 26: Hardware Storage
10m from MAST RP
  4 amplifiers
  1 NIM BIN
  1 rack mount computer
  1 PCI extension box
  4 power supplies for detector bias Voltage
[Images 19-23]

## Slide 27: Data Files (HDF)
Data file sizes
  23MB per channel per shot
  92MB per shot for all channels
  46GB for 10 days (2 weeks) data collection
  92GB for 4 weeks data collection
Data Storage
  150GB onsite rackmount computer
  800GB FIU host computer

## Slide 28: 3. Data Collection: Round 2
Initial noise diagnostics and Electrical Design Review
  January/March 2013
  The Mega Amp Spherical Tokamak (MAST) at in the Culham Centre for Fusion Energy (CCFE) in the United Kingdom
Diagnostic installation and subsequent data collection
  May/ June 2013
  The Mega Amp Spherical Tokamak (MAST) at in the Culham Centre for Fusion Energy (CCFE) in the United Kingdom

## Slide 29: 4. Data Analysis
Example of pulse signals, 5.5 MeV alpha particles

## Slide 30: Find Peaks for Protons

## Slide 31: Bin Peaks

## Slide 32: Count Particles Detected

## Slide 33: Emissivity
Ratio of particles detected (counted) and MAST global yield rate proportional to below expression
Simple models of emissivity will be fitted to data

## Slide 34: 5. Tentative Timeline
TERM | GOALS
SUMMER 2012 | Diagnostic design/ assembly/ testing
FALL 2012 | Continue summer goal, apply for 2014 fellowship
SPRING 2013 | Initial testing & Electrical Design Review at MAST
SUMMER 2013 | Diagnostic installation and data collection
FALL 2013 | Data analysis, dissertation, apply for 2015 fellowship
SPRING 2014 | Data analysis, dissertation
SUMMER 2014 | Write paper for publication, dissertation
FALL 2014 | Dissertation defense, submit paper for publication

## Slide 35: References- Images
Spherical Tokamaks Image. 2009. Abingdon, Oxfordshire, UK. Culhman Centre for Fusion Energy: Research. 08/01/2012. <http://www.ccfe.ac.uk/st.aspx>
Tokamak Fields. Encyclopedia of Earth. 09/01/2012. imagehttp://www.eoearth.org/article/Nuclear_fusion_power.
European Fusion Development Agreement (EFDA). Heating of JET Plasmas. 2012. Garching, Germany. EFDA: Fusion. 08/01/2012. http://www.efda.org/fusion/focus-on/plasma-heating-current-drive/ohmic-heating/
Fig. 1. Fundamental quantum mechanical phenomena. 2012. Victoria Stafforda Psychic Investigation. 09/20/2012. <http://victoriastaffordapsychicinvestigation.wordpress.com/2012/07/01/line-19-a2a-semiconductor-heterostructures-schrodinger-quantum-confinement-5g-wow-seti/fig-1-fundamental-quantum-mechanical-phenomena-a-electron-reflection-and-interference-b-tunneling-effect-c-e-quantum-confinement/>
Unreferenced images are created by author
An image depicting the poloidal (red, called theta) direction and the toroidal (blue, called phi) directions. 13 September 2006. Made in POV-Ray by Dave Burke. PNG File.
European Fusion Development Agreement (EFDA). Magnetic fields in a tokamak. 2012. Garching, Germany. EFDA: Fusion. 08/01/2012. <http://www.efda.org/fusion/focus-on/plasma-heating-current-drive/ohmic-heating/>
Jeffrey Freidberg. Cover. Plasma Physics and Fusion Energy. Cambridge University Press, 2008.
Spherical Tokamaks Image. 2009. Abingdon, Oxfordshire, UK. Culhman Centre for Fusion Energy: Research. 08/01/2012. <http://www.ccfe.ac.uk/st.aspx>
Princeton Plasma Physics Laboratory. National Spherical Torus Experiment. Princeton, New Jersey. Alternative Energy Action Now. 09/01/2012. <http://www.alternative-energy-action-now.com/spherical-tokamak.html>

## Slide 36: References- Images
Scott Y. Allan. MAST Reciprocating Probe. Culham Centre for Fusion Energy. 2012. JPG File.
Linkbox MAST Reciprocating Probe. CAD image created by the Culham Centre for Fusion Energy’s MAST Drawing Office. 2012. PDF File.
Please ask for user manual, CANBERRA 2111 Timing Filter Amplifier.
Please ask for user manual, ADNACO S2 Fiber Optic PCI Bus Extender.
Please ask for user manual, SuperMicro 50161 MTF 1U Rackmount Server.
Please ask for user manual, CANBERRA 3002D 0-3 kV H.V. Power Supply.
Please ask for user manual, Tennelec TB-3 NIM BIN with TC-911 Power Supply System.
Figure 3.11. Page 51, 2007. Plasma Physics and Fusion Energy. Jeffrey Freidberg. Cambridge University Press, 2007.
Side View of Assembled MAST Reciprocating Probe. CAD image created by the Culham Centre for Fusion Energy’s MAST Drawing Office. 2012. PDF File.
MAST Reciprocating Probe Access Cube. CAD image created by the Culham Centre for Fusion Energy’s MAST Drawing Office. 2012. PDF File.
Side View of MAST Reciprocating Probe. CAD image created by the Culham Centre for Fusion Energy’s MAST Drawing Office. 2012. PDF File.
Figure 11.8 and Figure 11.9. Page 262, 2007. Plasma Physics and Fusion Energy. Jeffrey Freidberg. Cambridge University Press, 2007.
Cecconello et al. FIG 2. MAST Neutron camera schematic. Rev Sci Instrum. 81, 10D315 (2010).

## Slide 37: References
J. A. Bittencourt, FUNDAMENTALS OF PLASMA PHYSICS. Springer Science + Business Media, LLC, 3rd Edition, 2004.
W. U. Boeglin, R. Valenzuela Perez, D. S. Darrow, Rev. Sci. Instrum. 81 (2010) 10D301
Hans-Stephan Bosch, Rev. Sci. Instrum. 61, 1699 (1990)
L. F. Delgado-Aparicio, et. al., J. of Appl. Phys. 102 (2007) 073304
Jeffrey Freidberg, Plasma Physics and Fusion Energy. Cambridge University Press,2007.
Daniel H. Lo, Réjean L. Boivin, and Richard D. Petrasso Rev. Sci. Instrum. 66, 345 (1995)
J. D. Strachan, Rev. Sci. Instrum.57, 1771 (1986)
S. J. Zweben, Rev. Sci. Instrum.57, 1774 (1996)
S. J., Zweben, et al., Nucl. Fusion 35, 893 (1995)

## Slide 38: Thank you for your time!
Questions

## Slide 40: Alternate Washer to Change Collimator Size
New collimator size

## Slide 41: Particle Motion
How do particles move in these magnetic fields?

## Slide 42: MAST RP side view
Access Cube/
Garage
Reciprocating
probe
MAST RP side view
Port
Vessel
Wall
[Image 12]

## Slide 43: Tokamak
Facilitate nuclear reactions
[Image 9]

## Slide 44: Gyro radius

## Slide 45: Collimator
[Image #]

## Slide 46: Transformer
[Image #]

## Slide 47: Electronics Schema

## Slide 48: Module Exploded View with Bases